# Product Requirements Document (PRD)

## 1. Product Overview

### Working Product Name

HealthGuard — Intelligent Personal Health Monitoring & Care Platform

### Product Concept

HealthGuard is a real-time health platform that integrates data from wearable devices, medical devices, user-reported information, and healthcare records to provide personalized health monitoring and care navigation.

The platform will:

- Continuously monitor available health and activity metrics.

- Establish personalized health baselines.

- Detect meaningful deviations and potential health risks.

- Combine personalized baselines with clinically established thresholds.

- Account for contextual factors such as age, pregnancy, medications, exercise, sleep, and known medical conditions.

- Provide personalized health recommendations.

- Connect users with healthcare professionals.

- Support clinician-facing clinical decision support.

- Provide medication and medical-equipment access.

- Provide first-aid and emergency guidance.

- Identify and connect users with appropriate registered healthcare facilities.

- Support optional caregiver access.

- Escalate potentially serious situations according to predefined safety rules.

The platform is not intended to replace physicians or emergency services. User-facing health insights should communicate risk and recommended action rather than present an AI-generated diagnosis as fact.

# 2. Product Vision

Create a single health platform that connects continuous personal health data with appropriate human medical care.

Instead of requiring users to interpret dozens of wearable measurements independently, the platform turns those measurements into contextual information and actionable next steps.

### Core principle

Monitor → Understand → Recommend → Connect → Escalate

# 3. Target Users

The initial platform will support a broad population rather than being restricted to a single condition.

### Primary users

- General adults

- People monitoring cardiovascular health

- People with hypertension

- People with diabetes

- People with previous stroke or elevated stroke risk

- People with hepatitis A, B, C, or D

- Pregnant women

- People tracking menstrual cycles

- Older adults

- People managing chronic diseases

- People recovering from illness or hospitalization

- People interested in preventive health and wellness

### Secondary users

- Family members and caregivers

- General practitioners

- Specialists

- Nurses

- Pharmacists

- Emergency/urgent-care professionals

- Hospitals and healthcare organizations

# 4. Product Goals

## Primary goals

- Provide meaningful real-time health monitoring.

- Detect significant deviations from a user's normal health patterns.

- Reduce unnecessary alarm while identifying potentially serious situations.

- Give users understandable, personalized recommendations.

- Provide a clear path from digital monitoring to human healthcare.

- Enable clinicians to access relevant patient information with appropriate authorization.

- Support emergency escalation where technically and legally appropriate.

- Give users control over their health data and permissions.

## Secondary goals

- Improve medication adherence.

- Help users understand their health trends.

- Facilitate preventive healthcare.

- Improve communication between patients and healthcare professionals.

- Help users locate appropriate healthcare facilities.

- Provide trustworthy first-aid and health education resources.

# 5. Non-Goals

The first version should not:

- Claim to replace a physician.

- Independently diagnose serious diseases.

- Independently change prescriptions.

- Automatically recommend prescription medication changes.

- Treat wearable measurements as equivalent to clinical diagnostic tests.

- Guarantee that an anomaly represents a specific medical condition.

- Replace emergency services.

# 6. Core Product Architecture

The platform should consist of several major layers:

### 1. Data ingestion layer

Collects information from:

- Smartwatches

- Fitness trackers

- Smart rings

- Blood-pressure monitors

- Pulse oximeters

- ECG-capable devices

- Continuous glucose monitors

- Thermometers

- Other supported medical devices

### 2. Health profile

Stores relevant:

- Demographics

- Medical history

- Diagnoses

- Medications

- Allergies

- Pregnancy information

- Menstrual-cycle information

- Previous procedures

- Previous hospitalizations

- Lifestyle information

- User preferences

### 3. Health intelligence engine

Combines:

Personal baseline + clinical thresholds + context + clinician rules

to identify potentially meaningful changes.

### 4. Recommendation engine

Produces personalized actions based on:

- Detected pattern

- Severity

- Confidence

- User profile

- Medical history

- Current symptoms

- Pregnancy status

- Medication profile

- Recent activity

- Sleep

- Other contextual factors

### 5. Escalation engine

Determines whether the appropriate action is:

Monitor → Inform → Contact clinician → Seek urgent care → Emergency assistance

### 6. Healthcare connectivity layer

Connects users with:

- Doctors

- Specialists

- Nurses

- Pharmacists

- Hospitals

- Emergency services where supported

# 7. Supported Health Data

The initial architecture should be designed to support all of the following.

## Vital signs

- Heart rate

- Resting heart rate

- Heart-rate variability

- Blood pressure

- Blood oxygen saturation

- Respiratory rate

- Body temperature

- Skin temperature

## Cardiac data

- ECG

- Arrhythmia-related device notifications

- Heart-rate patterns

## Activity

- Steps

- Distance

- Calories

- Exercise

- Activity intensity

- Sedentary periods

- Movement patterns

- Falls

## Sleep

- Sleep duration

- Sleep/wake patterns

- Sleep stages where available

- Sleep disturbances

## Metabolic data

- Blood glucose

- Continuous glucose monitoring data

## Women's health

- Menstrual cycle

- Symptoms

- Pregnancy status

- Gestational age

- Pregnancy-related measurements

- Pregnancy-specific clinical parameters where supported

## Medical information

- Hypertension

- Diabetes

- Hepatitis A/B/C/D

- Stroke history

- Cardiovascular conditions

- Other chronic diseases

- Medications

- Allergies

- Previous procedures

The system should clearly distinguish device measurements, user-reported information, clinician-confirmed diagnoses, and inferred risk signals.

# 8. Personalized Health Baseline

A major differentiator should be the user's individual baseline.

Rather than treating every person according to identical thresholds, the system should learn patterns such as:

- Typical resting heart rate

- Typical activity

- Typical sleep

- Typical respiratory rate

- Typical oxygen saturation

- Typical temperature

- Typical blood pressure

- Typical HRV

- Typical exercise response

The system can then detect meaningful deviations.

### Example

If a user's resting heart rate normally ranges around their established baseline and suddenly changes substantially for several days, the system may identify this as a pattern worth monitoring.

The system should avoid interpreting isolated measurements without considering:

- Measurement quality

- Device limitations

- Recent exercise

- Sleep

- Illness

- Medications

- Stress

- Pregnancy

- Existing conditions

- Other available measurements

# 9. Contextual Health Intelligence

The detection engine should consider relevant context.

### Examples

Pregnancy

Pregnancy-specific profiles should modify relevant monitoring and recommendations according to gestational stage and clinician-configured parameters.

Hypertension

The system can monitor blood-pressure trends and related measurements and encourage appropriate clinical follow-up when predefined criteria are met.

Hepatitis

The system should primarily use confirmed medical history and relevant clinician-entered information rather than implying that a wearable can diagnose hepatitis.

Stroke history

The platform can maintain stroke history and provide appropriate monitoring and emergency education. It should not claim that wearable data alone can diagnose an acute stroke.

Menstrual cycle

The system can track cycle patterns, symptoms, and relevant physiological trends while clearly distinguishing estimates from confirmed medical information.

# 10. Anomaly Detection

The system should use a multi-layer detection model.

### Layer 1 — Data quality

Determine whether the measurement is reliable enough to interpret.

### Layer 2 — Personal baseline

Compare measurements against the user's historical pattern.

### Layer 3 — Clinical thresholds

Apply clinically validated rules where appropriate.

### Layer 4 — Context

Adjust interpretation based on:

- Age

- Sex

- Pregnancy

- Medical history

- Medication

- Activity

- Sleep

- Recent illness

- Other relevant information

### Layer 5 — Clinician rules

Authorized clinicians may configure appropriate monitoring parameters for patients under their care.

# 11. Alert Severity Framework

The platform should use multiple levels rather than a binary "normal/abnormal" system.

### Level 0 — Informational

No immediate concern.

Example:

"Your activity was lower than your usual level today."

### Level 1 — Monitor

Potentially meaningful deviation.

"Your resting heart rate has remained above your usual range for several measurements. Consider monitoring it and recording any symptoms."

### Level 2 — Clinical follow-up

Pattern potentially warrants professional evaluation.

"Your recent measurements show a persistent change from your usual pattern. Consider contacting your healthcare professional."

### Level 3 — Urgent

The user should seek prompt medical attention according to the applicable clinical pathway.

### Level 4 — Emergency

For predefined emergency patterns, the platform provides immediate emergency instructions and facilitates emergency contact where supported.

The system should avoid claiming certainty where the underlying data cannot support it.

# 12. Adaptive Escalation

The preferred escalation model is:

Detect → Explain → Recommend → Confirm user response → Escalate if appropriate

For example:

- Detect potentially concerning pattern.

- Check data quality.

- Ask about relevant symptoms if appropriate.

- Present an understandable explanation.

- Provide the recommended next action.

- Offer clinician contact.

- Escalate when predefined emergency criteria are met.

- Record the event and response.

Emergency escalation must be carefully designed around jurisdiction, user consent, emergency-service capabilities, false-positive risk, and applicable regulation.

# 13. AI Health Recommendations

The recommendation engine should provide five major categories.

## A. Lifestyle

- Sleep

- Physical activity

- Hydration

- Nutrition

- Stress management

- Recovery

## B. Monitoring

- Repeat a measurement

- Check blood pressure

- Record symptoms

- Perform a measurement with an appropriate validated device

- Continue monitoring for a specified period

## C. Healthcare navigation

Recommend an appropriate care pathway:

- General practitioner

- Specialist

- Pharmacist

- Nurse

- Urgent care

- Emergency department

- Registered hospital

## D. Medication support

- Medication reminders

- Adherence tracking

- Medication information

- Interaction warnings where supported

- Prompts to discuss changes with clinicians

The system should not independently alter prescriptions.

## E. Condition-specific pathways

Examples:

- Hypertension

- Pregnancy

- Diabetes

- Hepatitis

- Cardiovascular risk

- Stroke history

- Menstrual health

# 14. Clinical Decision Support

A separate clinician-facing system should provide more detailed information than the consumer interface.

A clinician could see:

- Current measurements

- Long-term trends

- Detected anomalies

- Relevant medical history

- Medication information

- Patient-reported symptoms

- Device reliability indicators

- Relevant contextual factors

- Previous alerts

- Patient responses

- Suggested clinical considerations

AI-generated content should be clearly identified as decision support, not a final clinical determination.

Clinicians remain responsible for their medical decisions.

# 15. Medical Professional Connectivity

Users should be able to:

- Search for appropriate professionals.

- Filter by specialty.

- Request consultations.

- Share selected health data.

- Share relevant trends and alerts.

- Communicate through secure messaging where supported.

- Participate in telemedicine where available.

- Receive clinician feedback.

The user should control what information is shared unless disclosure is legally required or an emergency mechanism applies.

# 16. Hospital & Emergency Services

The platform should maintain a directory of appropriately registered healthcare facilities where reliable data is available.

Users should be able to locate:

- Hospitals

- Emergency departments

- Clinics

- Pharmacies

- Urgent-care facilities

- Relevant specialists

For emergency situations, the platform should provide:

- Clear emergency instructions

- Appropriate emergency contact options

- Relevant nearby facilities

- Optional sharing of critical medical information where legally and technically supported

Location should only be accessed and shared according to the user's permissions and applicable emergency rules.

# 17. First-Aid System

The platform should contain a structured first-aid knowledge base.

It should provide concise, step-by-step guidance for appropriate situations such as:

- Bleeding

- Burns

- Choking

- Fainting

- Falls

- Suspected stroke

- Suspected cardiac emergency

- Allergic reactions

- Minor injuries

Emergency information should prioritize immediate safety and professional emergency assistance where appropriate.

Content should be reviewed by qualified medical professionals.

# 18. Medication Marketplace

Users should be able to:

- Search for medications.

- View medication information.

- Upload or receive prescriptions where legally supported.

- Connect with pharmacies.

- Purchase eligible medications.

- Track medication schedules.

The system must distinguish between:

- Prescription medications

- Non-prescription medications

- Restricted medications

- Medical devices

Prescription fulfillment should comply with the applicable jurisdiction's laws.

# 19. Medical Equipment Marketplace

Users should be able to find equipment such as:

- Blood-pressure monitors

- Pulse oximeters

- Glucose meters

- CGMs where legally available

- Thermometers

- Mobility equipment

- First-aid supplies

- Other approved medical devices

Product information should distinguish between consumer wellness products and medically validated devices.

# 20. Health Data Permissions

The preferred model is:

### User-controlled + role-based access

Users can grant access to:

- Doctors

- Specialists

- Nurses

- Caregivers

- Family members

- Other authorized professionals

The platform should implement minimum-necessary access.

For example, a pharmacist may not need access to a user's complete reproductive-health history.

# 21. Caregiver Access

Users can optionally designate trusted caregivers.

Possible permissions:

- View selected health metrics

- Receive selected alerts

- View medication adherence

- View appointments

- Receive emergency notifications

Permissions should be configurable rather than all-or-nothing.

# 22. Emergency Access

A carefully controlled emergency-access mechanism should exist.

Possible design:

Normal state

User-controlled permissions apply.

Emergency state

Authorized emergency personnel may access a limited emergency profile containing information such as:

- Name

- Critical conditions

- Allergies

- Medications

- Emergency contacts

- Relevant clinician

- Blood type if verified

- Other explicitly designated emergency information

Every emergency access should be logged and auditable.

# 23. Privacy & Security

Health data should be treated as highly sensitive.

Core requirements:

- Encryption in transit

- Encryption at rest

- Strong authentication

- Multi-factor authentication

- Role-based access control

- Consent management

- Data minimization

- Audit logs

- Access notifications

- Data export

- Data deletion mechanisms subject to legal requirements

- Breach monitoring

- Secure API architecture

- Device authentication

- Third-party integration controls

The exact regulatory architecture must be determined based on the markets where the product will operate.

# 24. Regulatory Strategy

Because this product combines health monitoring, medical recommendations, clinical decision support, medication services, and emergency workflows, regulatory classification should be addressed before implementation of clinical functionality.

The regulatory strategy should evaluate:

- Medical-device/software regulations

- Health-data privacy requirements

- Telemedicine regulations

- Pharmacy regulations

- Prescription requirements

- Medical-device sales regulations

- Emergency-service integration

- AI/clinical decision-support requirements

- Data residency requirements

The product should be designed with jurisdiction-specific capabilities rather than assuming that the same functionality can legally operate everywhere.

# 25. MVP

The first release should focus on the core monitoring and care-navigation loop rather than launching every marketplace and healthcare integration simultaneously.

### Recommended MVP

#### User app

- Account creation

- Health profile

- Medical history

- Medication list

- Pregnancy profile

- Menstrual-cycle tracking

- Wearable integration

- Heart rate

- Activity

- Sleep

- SpO₂ where supported

- Blood pressure integration where supported

- Basic temperature/respiratory metrics where supported

- Personalized baseline

- Anomaly detection

- Severity-based alerts

- Personalized recommendations

- First-aid information

- Healthcare-provider discovery

- Hospital discovery

- Consent/privacy controls

- Caregiver permissions

#### AI layer

- Personalized baseline modeling

- Anomaly detection

- Contextual interpretation

- Risk indication

- Recommendation engine

- Escalation logic

- Explainability

#### Clinician portal

- Patient dashboard

- Health trends

- Alerts

- Relevant medical history

- Patient-shared data

- Clinical notes

- Configurable monitoring parameters

- Communication

# 26. Phase 2

Add:

- Telemedicine

- Medication marketplace

- Pharmacy integration

- Medical-equipment marketplace

- Electronic health-record integrations

- More wearable manufacturers

- CGM integration

- ECG analysis workflows

- Advanced pregnancy monitoring

- Chronic-disease programs

- Caregiver dashboards

# 27. Phase 3

Add, subject to validation and regulatory clearance:

- Advanced clinical decision support

- More sophisticated predictive models

- Hospital integrations

- Remote patient monitoring programs

- Insurance/employer integrations where appropriate

- Population-health analytics using properly governed, de-identified data

- Expanded emergency-service integrations

# 28. Key User Journey

### Example: Unexpected health change

1. Data arrives

Wearable → platform

2. Quality check

System determines whether the measurement is sufficiently reliable.

3. Contextual analysis

System considers:

- Personal baseline

- Medical history

- Pregnancy status

- Medications

- Recent exercise

- Sleep

- Symptoms

- Clinical thresholds

4. Risk classification

The system determines the appropriate alert level.

5. User notification

The user receives an understandable explanation.

6. Recommendation

The platform recommends monitoring, contacting a clinician, urgent evaluation, or emergency action depending on the situation.

7. Escalation

If appropriate, the user can immediately connect with a clinician or emergency service.

8. Documentation

The event and user response are recorded in the health timeline.

# 29. Example User Experience

Instead of:

"Abnormal heart rate detected."

The system should communicate something closer to:

Your heart rate has been higher than your usual range.

We've noticed this pattern across several measurements. Recent exercise can temporarily increase heart rate, so we've considered your recent activity.

What you can do: Rest and recheck your measurement when you are relaxed. If you're experiencing concerning symptoms, seek medical attention.

[Check again] [Contact a clinician] [Emergency help]

The exact recommendation should depend on validated clinical rules and the user's context.

# 30. AI Safety Requirements

The AI should:

- Communicate uncertainty.

- Distinguish measurements from interpretations.

- Never fabricate medical information.

- Never claim to have performed a medical examination.

- Never present an inference as a confirmed diagnosis.

- Explain important factors behind recommendations.

- Encourage appropriate professional evaluation.

- Avoid unnecessary alarm.

- Avoid false reassurance.

- Detect when available data is insufficient.

- Recognize device limitations.

- Escalate according to clinically validated rules.

- Maintain an auditable record of significant AI-generated recommendations.

# 31. Core Data Model

At minimum, the backend should represent:

User

→ demographics
→ preferences
→ consent

Health Profile

→ conditions
→ allergies
→ medications
→ pregnancy
→ menstrual cycle
→ medical history

Device

→ manufacturer
→ model
→ capabilities
→ connection
→ data quality

Measurement

→ metric
→ value
→ timestamp
→ device
→ confidence/quality

Baseline

→ metric
→ normal range
→ time window
→ confidence

Alert

→ detected pattern
→ severity
→ evidence
→ recommendation
→ escalation state

Care Provider

→ specialty
→ registration/verification
→ availability
→ location

Care Event

→ consultation
→ prescription
→ referral
→ hospital visit

Permission

→ data type
→ recipient
→ purpose
→ expiration
→ audit trail

# 32. Success Metrics

### Product metrics

- Device connection rate

- Daily/weekly active users

- Health-data availability

- Recommendation engagement

- Alert engagement

- Clinician connection rate

- Medication adherence engagement

- Caregiver engagement

### Safety metrics

These are particularly important:

- False-positive alert rate

- False-negative detection rate where measurable

- Alert response time

- Emergency escalation accuracy

- Clinician override rate

- User-reported inappropriate recommendations

- Device/data-quality failure rate

### Clinical-quality metrics

Where clinically validated:

- Agreement with predefined clinical criteria

- Sensitivity/specificity of validated detection systems

- Appropriate escalation rate

- Appropriate referral rate

The product should optimize clinical safety and usefulness, not simply maximize the number of alerts.

# 33. High-Level Technical Architecture

Wearables / Medical Devices

│

▼

Data Integration Layer

│

▼

Data Quality Engine

│

▼

Health Data Store

│

├───────────────┐

▼               ▼

Personal Baseline    Clinical Rules

│               │

└───────┬───────┘

▼

Context Engine

│

▼

Health Intelligence AI

│

┌───────┴────────┐

▼                ▼

Recommendation      Risk / Alert Engine

Engine                    │

│                ▼

│          Escalation Engine

│                │

└───────┬────────┘

▼

┌─────────────────────┐

│     User App        │

├─────────────────────┤

│ Clinician Portal    │

│ Caregiver Portal    │

│ Pharmacy Services   │

│ Hospital Services   │

│ Emergency Services  │

└─────────────────────┘

# 34. Product Differentiation

The product's central differentiation should not simply be "we collect more wearable data."

The stronger proposition is:

A health intelligence and care platform that connects continuous personal health data with personalized guidance and the appropriate level of human medical care.

The combination of:

wearables + personal baseline + medical context + AI interpretation + clinician connectivity + emergency escalation + healthcare marketplace

creates the platform's core value proposition.

# 35. Critical Design Principle

The most important architectural decision is to keep these concepts separate:

Measurement ≠ anomaly ≠ risk ≠ diagnosis ≠ treatment

For example:

Measurement:
"Your heart rate is 110 bpm."

↓

Pattern:
"This is above your personal baseline."

↓

Risk indication:
"This pattern may warrant attention depending on symptoms and circumstances."

↓

Recommendation:
"Rest and recheck / contact a clinician / seek urgent care."

↓

Clinical decision:
A qualified healthcare professional evaluates the patient.

This separation should be built into the product, AI architecture, user interface, audit system, and regulatory strategy from the beginning.

# 36. Recommended Product North Star

Help people recognize meaningful changes in their health and reach the right level of care at the right time—without pretending that wearable data or AI can replace medical professionals.